## Boilers
Boilers | [8 empty] | (Coal, Oil, Electricity, Gas) | 2022
| Unit Type | Type | Manufacturer | Model Number | Serial Number | Tonnage/Size | Year Manufactured | Date in Service | Status | Age | Condition | Electrical Requirements | Capacity | Cost | Water Process | Powered by | Supply Temp | Return Temp | Cool Water Needs | Pipe Size (In) | Location | Property | Address | City | State
| Water Heater |  | Ruud | PE52-2T D | RU 100 | RU 1000B07074 |  |  | In Service | [5 empty] | Heating | Electric |  |  |  |  | Basement | University
| Boiler |  | PEERLESS | 21013S | 2102098 | 2,016MBH | [14 empty] | Roof | University

## Chillers
Chillers | [9 empty] | 2022
| Unit Type | Type | Manufacturer | Model Number | Serial number | Tonnage/Size | Year Manufactured | Date in Service | Status | Age | Condition | Electrical Requirements | Capacity | Cost | Pipe Size | Notes | Location | Property | Address | City | State
| Chiller |  | Trane | CGAM-060A-2Q02-AXD2-A1A1-A1HX-XA1C-1A4X-XXXX-XA1A-3A1D-1XXL-XX | U18E68599 | 60 | [10 empty] | Basement | University
| Chiller |  | Trane | RAUA-8006-RCLA | [12 empty] | Roof | University

## Cooling Towers
Cooling Towers
| Unit Type | Type | Manufacturer | Model Number | Serial number | Tonnage/Size | Year Manufactured | Date in Service | Status | Age | Condition | Chemical Requirements | Chemical Cost | Capacity | Cost | Pipe Size | Notes | Location | Property | Address | City | State
| Cooling tower |  | SPX |  |  |  |  | In Service | [9 empty] | Basement | University

## Generators
Generators | [9 empty] | 2022
| Unit Type | Type | Manufacturer | Model Number | Serial number | Tonnage/Size | Year Manufactured | Date in Service | Status | Age | Condition | Electrical Requirements | Capacity | Cost | Notes | Location | Property | Address | City | State
| Emergency Generator |  | Kohler | 200ROZD | 390153 |  |  |  | In Service | [6 empty] | Basement | University
| Generator |  | Cummins | 100DGDB | C910373689 |  |  |  | In Service | [6 empty] | Roof | University

## HVAC
HVAC | [9 empty] | 2022
| Unit Type | Type | Manufacturer | Model Number | Serial number | Tonnage/Size | Year Manufactured | Date in Service | Status | Age | Condition | Electrical Requirements | Capacity (BTU) | Cost | Notes | Location | Property | Address | City | State
| HVAC | CU | Trane | TTA120B400EA |  | 10 | 2005 |  | In Service | 17 |  | 460/3 |  | 7000 |  | Basement | University
| HVAC | CU | ColdZone | ETHN-2 |  |  |  |  | In Service |  |  | 208/3ph |  | 7000 |  | Roof | University

## Electrical
Electrical
| Type | Manufacturer | Model Number | Serial number | Supply Amps | Date Created | Date in Service | Status | Price | Location | Property | Address | City | State
| Av-Line | GE |  |  | 4000 |  |  | In Service |  | Basement | University
| SLG | GE |  |  | 150 |  |  | IN SERVICE |  | Roof | University

## Other
Other | [9 empty] | 2022
| Unit Type | Type | Manufacturer | Model Number | Serial number | Tonnage/Size | Year Manufactured | Date in Service | Status | Age | Condition | PSI | Electrical Requirements | Capacity (BTU) | Cost | Notes | Location | Property | Address | City | State
| Hot Water Pump |  | Taco | FE2510E2G1F2L0A |  | 271 GPM | [10 empty] | Basement | University
| Chilled Water Pump |  | Taco | FE4013E2111G2L0A |  | 712 GPM | [10 empty] | Roof | University